**Customer: Address:**

**Attn: Project:**

**Location: Number:**

**422286-002** ADM-01-KIT-IN-8-CT Kitchen 8 Coffee Line

**422286-001** ADM-01-KIT-IN-8-T Kitchen 8 Sink

**Analysis Report**

Labella Associates (1126)

300 State Street

Rochester, NY 14614-1098

Brockport CSD Lead In Water Administration Building 2211782

**Schneider Laboratories Global, Inc**

## 2512 W. Cary Street • Richmond, Virginia • 23220-5117 804-353-6778 • 800-785-LABS (5227) • Fax 804-359-1475

**Order #:** 422286

**Matrix** Drinking Water

**Received** 06/02/21

**Reported** 06/09/21

**PO Number:**

**422286-005** ADM-01-EXT-BY-22- Hose Bib by 22

**422286-004** ADM-01-HA-BY-17-B Bottle Filler by 17

**422286-003** ADM-01-KIT-IN-8-CP Kitchen Coffee Pot

**Derek Jackson**

Reviewed By:

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sample ID** | **Cust. Sample ID** | **Location** |  |  |  |  |  |
| **Parameter** |  | **Method** | **Result** | **RL\*** | **Units** | **Analysis Date** | **Analyst** |
|  |  |  |  |  |  |  |  |
| ***Metals Analysis***Lead | EPA 200.9 Rev 2.2 | **<5.00** | 5.00 | µg/L | 06/04/21 | JL |
| ***Metals Analysis***Lead | EPA 200.9 Rev 2.2 | **<10.0** | 10.0 | µg/L | 06/08/21 | JL |
| ***Metals Analysis***Lead | EPA 200.9 Rev 2.2 | **<5.00** | 5.00 | µg/L | 06/04/21 | JL |
| ***Metals Analysis***Lead | EPA 200.9 Rev 2.2 | **<5.00** | 5.00 | µg/L | 06/04/21 | JL |
| ***Metals Analysis***Lead | EPA 200.9 Rev 2.2 | **16.6** | 5.00 | µg/L | 06/04/21 | JL |
| **422286-06/09/21 04:55 PM** |  |  |  |  |  |  |

|  |  |  |
| --- | --- | --- |
| **EPA Regulatory Limits****Parameter Reg. Limit**Lead 15.0 |  | Analyst |
| **Unit**µg/L |  |
| **State Certifications****Method Parameter** | **New York** | **Virginia** |
| EPA 200.9 Rev 2.2 | Lead | ELAP Certified | VELAP Certified |
| **State** | **Certificate Number** |  |
| New York | ELAP 63556 |  |
| Virginia | VELAP 11259 |  |

All internal QC parameters were met. Unusual sample conditions, if any, are described. Surrogate Spike results designated with "D" indicate that the analyte was diluted out. "MI" indicates matrix interference. Concentration and \*Reporting Limit (RL) based on areas provided by client. Values are reported to three significant figures. Solid PPM = mg/kg | PPB = µg/kg and Water PPM = mg/L | PPB = µg/L. The test results reported relate only to the samples submitted.

Page 1 of 1

**SCHNEIDER LABORATORIES GLOBAL, INC.**

## 2512 West Cary Street, Richmond, Virginia 23220-5117 804-353-6778 • 800-785-LABS (5227) • Fax 804-359-1475

[www.slabinc.com](http://www.slabinc.com/) e-mail: info@slabinc.com

-

**S 5**

**422286**

**V:\422\422286**

I fghraizi 6/2/2021 9:45:54 AM

----- ----------------- -- ---------I------" u.es 17153E700356.Z98B56 -

**Submitting Co.**

**LaBella Associates, D.P.C.**

**300 State Street**

Lab WO#

Acct#

""J;tat ot

**1126**

·· ·.

Phone

Fax/ Email

\*,\*Cert·

**(607) 591-7516**

**cstamp@labellapc.com**

**Rochester, New York 14614**

Colle(?tiori **t.lY** >

, Required

Project Name:

### Brockport CSD Lead in Water Testing

Special Instructions [include requests for special reporting or data packages)

**Project Location: Administration Building**

### See attached spreadsheet

**Project Number:**

2211782

**PO Number:**

. . ,. .. . •.... .

**Tum Arouild:Time**

D2 hours•

*All samples on form should be of SAME*

.• ... . . ·.· .. > . ': ,·. ·. ...,,. : .'.

**Asbestos Air/ Fiber Counts** . **Asbestos Bulk** / **Asb•ID** ' ' : **Metals Tot I ,Coric:.** .

Osameday\*

*matrix type. Use additional forms* as *needed.*

0 PCM (NIOSH 7400)

**0** PLM (EPA 600IR-93/116)

**[El** Lead

**D** 1 business day•

□Air

**0** Solid

**0** TEM (AHERA)

**0** PLM (EPA Point Count)

0 RCRA Metals

**D** 2 business day•

**D** Aqueous

**D** Waste

**0** TEM (EPA Level II) **0** PLM (Qualitative only)

□-------

**D** 3 business days\*

**[El** 5 business days\*

**D** Bulk **D** Wastewater

**0** Hi-Vol Filter (PM10) **(El** Water,Drinking

□=-========---1□NYELAP 198,1/.4/.6

1---·**M=i=sc=e=Ua=n=e=o=us·•T =s=ts** ·**·** ---10 CAELAP (EPA Interim)

>

:-·•. **Metals Extract** ·

**0** Full TCLP (10d)

□

□Weekend\*

* not available for all tests

**D** Hi-Vol Filter (TSP) **D** Compliance

□Oil **O** Wipe

**D** Paint **D** Wipe, Composite

**0** Total Dust (NIOSH 0500) **0** TEM (Chatfield) **0** TCLP / Lead

**0** Resp. Dust (NIOSH 0600) □========= 1□TCLP / RCRA Metals

0 Silica - FTIR (NIOSH 7602) FOR ASBESTOS **AIR:** 0 TCLP / Full (w/ organics)

***Schedule rush organics, multi•* D** Sludge □

0 Silica - XRD (NIOSH 7500) TYPE OF RESPIRATOR

: ·.

·Others.·. . '·.

***metals*** & ***weekend tests*** *In*

***advance.***

Dsoil □

0 Mold Direct Exam USED: □

Samole#

**Date SamDled\*\***

### Time

**SamDledt•**

Sample Identification (Employee, SSN Bldq, Material, Type1)

Wiped Area (ft2l

pH / Temp\*

Time"

Start Stoo

Flow Rate3

Start Stoo

Total4 Air

*/}*

.

*I* I

*I*

1Tvoe: A=area B=blank P=oersonal E=excursion 2Beainnina/End of Samole Period 3Pumo Calibration in Liters/Minute "volume in Liters [time in min \* flow in L/min]

**Sampled by**

# NAME C \_ry\_S\_t ar7'::ryv,;----

SIGNATURE *---= ::.=-ftl dl-'-r\_·* \_

**Relinquished to lab by**

# NAME ---- -C\_o ry\_S\_t\_a\_ \_.--­

SIGNATURE ---, ,,,,..--,fr--"¥--r ---

Samr.le Disposal

If samp es over req. weight (Refer to Fee Schedule)

**D**Return to Sender (Shipping fees)

**D**Disposal by lab ($50 fee)

Shipping Methods

DATE/TIME

/it t2)dl \_0\_2 1 \_

DATE/TIME  *f*

*f2\_0\_2\_1*

**D** FX **D** UPS **D** USM

**D** HD **D** DB

D Samole return requested **n** Ambient temo n Ice Cl D **R D SD X**

**D** Receive a physical copy of report.

WB:

\* *Temperature taken with IR Gun* A *"Required. Chain-of-Custody documentation continued internally within lab.Terms and conditions page* 2.





t ' •